APPLICATION DATA SHEET: MASSFLOW/DENSITY GAUGE

Page 1 of 3

| Quote Reference: |  |  |  |  | Tag: |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Customer: |  |  |  |  | End-User: |  |  |  |  |  |  |  |  |
| Fax No: |  |  |  |  | Date: |  |  |  |  |  |  |  |  |
| In order to evaluate the application and to ensure that any equipment subsequently purchased will be compatible with the process plant, certain minimum data is required. Please enter the data required on the questionnaire below. A free hand sketch of the pipe work with distances to;- bends, pumps, valves etc., should be drawn on the reverse of this data sheet. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| PROCESS AND MEASUREMENT DETAILS |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Maximum |  |  |  | Normal |  |  | Minimum |  |  |
| Calibration range (SGU) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Process temperature (°C) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Ambient temperature (°C) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Process material |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Density of solids (SGU) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Density of carrying liquid (SGU) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pipe material |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Solid Density of Pipe Material |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pipe outside diameter (mm) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pipe wall thickness per side (mm) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pipe liner material |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Solid Density of Liner Material |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pipe liner thickness per side (mm) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pipe insulation material |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Solid Density of Pipe Insulation Material |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pipe insulation thickness per side (mm) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Volumetric flow rate (m3/h) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Linear flow rate (m/s) [Must be 1,0m/s and 3m/s for slurries] |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Accuracy required (%) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hazardous location? |  |  |  | Yes No |  |  |  |  |  | (Classification) |  |  |  |
| Temperature compensation required? |  |  |  | Yes No |  |  |  |  |  | (Temp. co-efficient) |  |  |  |
| More than one different type of material pumped? |  |  |  | Yes No |  |  |  |  | (Mark Choice) |  |  |  |  |
| Does the Solids Density vary? |  |  |  | Yes No |  |  |  |  | (Mark Choice) |  |  |  |  |
| Severe vibration? |  |  |  | Yes No |  |  |  |  | (Mark Choice) |  |  |  |  |
| Continuous Pumping? |  |  |  | Yes No |  |  |  |  | (Mark Choice) |  |  |  |  |
| At the point of density measurement, is the pipeline Vertical or Horizontal? (Vertical Recommended) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| If Vertical Pipeline, is the product flow Vertical Horizontal upwards at the point of density measurement ? (Mark Choice) (Mark Choice) Yes No (Mark Choice) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CALIBRATION METHOD |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Theoretical Hand Samples Drop (Material) Test (Mark preferred method(s)) |  |  |  |  |  |  |  |  |  |  |  |  |  |

| ELECTRONIC TRANSMITTER |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cabinet type | Blind Wall Mounting |  |  |  |  |  |  |  | (Mark Choice) |  |  |
| Power supply available | 220Vac 110Vac 24Vac 50 Hz 60 Hz |  |  |  |  |  |  |  |  | (Mark Choice) |  |
| Environmental temperature (°C) |  | (Maximum) |  |  |  | (Normal) |  |  |  |  | (Minimum) |
| Enclosure protection class | IP54 (std) IP55 IP |  |  |  |  |  |  |  | (Mark Choice) |  |  |
| Severe vibration? | Yes No |  | (Mark Choice) |  |  |  |  |  |  |  |  |
| Hazardous location? | Yes No |  |  |  |  |  |  |  | (Classification) |  |  |

| #### Application Data Sheet: Massflow/Density Gauge | ##### Page 2 of 3 |
| --- | --- |

| ADDITIONAL REQUIREMENTS IN THE EVENT DILUTION CONTROL IS REQUIRED |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Maximum |  | Normal |  |  | Minimum |  |
| Pressure (constant) of dilution water (kPa) |  |  |  |  |  |  |  |
| Density of medium before dilution (SGU) |  |  |  |  |  |  |  |
| Target density of medium after dilution (SGU) |  |  |  |  |  |  |  |
| Height of Correct Medium above pump inlet (m) |  |  |  |  |  |  |  |
| Pressure at point of dilution water injection (kPa) |  |  |  |  |  |  |  |
| Flow rate of correct medium (m3/h) |  |  |  |  |  |  |  |

| OPTIONS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Special painting? |  |  |  |  |  | PA Proprietary (Blue) Galvanized Other (as per attached) None |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stainless steel sensor set? |  |  |  |  |  | Yes No |  |  |  |  | (Mark Choice) |  |  |  |  |  |  |  |  |
| Bulk testing software required? |  |  |  |  |  | Yes No |  |  |  |  | (Mark Choice) |  |  |  |  |  |  |  |  |
| Remote totaliser pulse stretch software required? |  |  |  |  |  | Yes No |  |  |  |  | (Mark Choice) |  |  |  |  |  |  |  |  |
| LCD back lighting required? |  |  |  |  |  | Yes No |  |  |  |  | (Mark Choice) |  |  |  |  |  |  |  |  |
| High / Low alarms required? |  |  |  |  |  | Yes No |  |  |  |  | (Mark Choice) |  |  |  |  |  |  |  |  |
| Constant voltage transformer required? |  |  |  |  |  | Yes No |  |  |  |  | (Mark Choice) |  |  |  |  |  |  |  |  |
| Flow meter to be supplied? |  |  |  |  |  | Yes No |  |  |  |  |  |  |  |  |  |  |  | (Preferred type) |  |
| Flow meter empty pipe protection required? |  |  |  |  |  | Yes No |  |  |  |  | (Mark Choice) |  |  |  |  |  |  |  |  |
| Flow meter wet flow totalisation required? |  |  |  |  |  | Yes No |  |  |  |  | (Mark Choice) |  |  |  |  |  |  |  |  |
| Flow meter output? |  |  |  |  |  | 4-20 mA Other |  |  |  |  |  |  |  |  |  |  |  |  |  |
| UNICAL portable Density Sample Analyser required? |  |  |  |  |  | Yes No |  |  |  |  |  | (Mark Choice) |  |  |  |  |  |  |  |
| Inter-connecting cable (Orange / Pink / Blue) required? |  |  |  |  |  | Yes No |  |  |  |  |  | Metres |  |  |  |  | (specify colour) |  |  |
| SPECIAL REQUIREMENTS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| SKETCH OF PIPING (Side View) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| or alternatively attach a drawing (ACAD .dwg or .pdf format) of the piping |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| #### Application Data Sheet: Massflow/Density Gauge; ##### Page 3 of 3. |
| DETAILS - RADIATION PROTECTION OFFICER |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Name: |  |  |  |  |  |  |  |  | Tel no: |  |  |  |  |  |  |  |  |  |  |
| Designation: |  |  |  |  |  |  |  |  | Fax no: |  |  |  |  |  |  |  |  |  |  |
| E-mail: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CONFIRMATION OF TECHNICAL DETAILS AS SET OUT ABOVE (requirement of ISO 9000/9001) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Print Name: |  |  |  |  |  |  |  |  | Designation: |  |  |  |  |  |  |  |  |  |  |
| Signature: |  |  |  |  |  |  |  |  | Date: |  |  |  |  |  |  |  |  |  |  |
| FOR OFFICE USE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Density model: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Detector type to be supplied: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Isotope activity to be supplied: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Flow Meter Supplied |  |  |  |  | Yes No |  |  | Model: |  |  |  |  |  |  |  |  |  |  |  |
| Additional requirements: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |