APPLICATION DATA SHEET: STATIC (BIN) WEIGHING

Page 1 of 2

| Quote Reference: |  |  |  |  |  |  |  |  | Tag: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Customer: |  |  |  |  |  |  |  |  | End-User: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fax No: |  |  |  |  |  |  |  |  | Date: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| In order to evaluate the application and to ensure that any equipment subsequently purchased will be compatible with the process plant, certain minimum data is required. Please enter the data required on the questionnaire below. A free hand sketch of the plant/equipment/supports etc., should be drawn on the reverse of this data sheet. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| PROCESS AND MEASUREMENT DETAILS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| VESSEL DATA |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | Maximum |  |  |  |  |  |  |  |  |  |  | Normal |  |  |  |  |  |  |  |  | Minimum |  |  |  |  |  |
| Bin tare mass (kg) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bin gross mass (kg) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| PROCESS DATA |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | Maximum |  |  |  |  |  |  |  |  |  |  | Normal |  |  |  |  |  |  |  |  | Minimum |  |  |  |  |  |
| Ambient temperature (°C) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Process temperature (°C) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Process material nett mass (kg) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bulk Density of process material (kg/m3) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Process material |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Application (Mark choice () & enter accuracy required)? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Level (Accuracy required >1%) |  |  |  |  | Accuracy |  |  |  |  |  |  |  |  |  |  |  |  |  |  | % |  |  |  |  |  |  |  |  |  |  |
|  |  | Weighing (Accuracy required <1%) |  |  |  |  | Accuracy |  |  |  |  |  |  |  |  |  |  |  |  |  |  | % |  |  |  |  |  |  |  |  |  |  |
|  |  | Custody Transfer/Certified |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hazardous location? |  |  |  |  |  |  | Yes No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | (Classification) |  |  |  |  |
| Severe vibration? |  |  |  |  |  |  | Yes No |  |  |  |  |  |  |  | (Mark Choice) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CALIBRATION METHOD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Theoretical Material Test Assised Test Mass Pieces (Mark preferred method(s)) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ELECTRONIC TRANSMITTER |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cabinet type |  |  |  |  | Blind Wall Mounting |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | (Mark Choice) |  |  |  |  |  |  |
| Power supply available |  |  |  |  | 220V AC 110V AC 50 Hz 60 Hz |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | (Mark Choice) |  |  |  |  |  |  |
| Environmental temperature (°C) |  |  |  |  |  |  |  | (Maximum) |  |  |  |  |  |  |  |  |  |  |  |  | (Normal) |  |  |  |  |  |  |  |  | (Minimum) |  |  |
| Enclosure protection class |  |  |  |  | IP54 (std) IP55 IP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | (Mark Choice) |  |  |  |  |  |  |
| Severe vibration? |  |  |  |  | Yes No |  |  |  |  | (Mark Choice) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hazardous location? |  |  |  |  | Yes No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | (Classification) |  |  |  |  |  |  |
| Local display required? |  |  |  |  | Yes No |  |  |  |  | (Mark Choice) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Remote display required? |  |  |  |  | Yes No |  |  |  |  | (Mark Choice) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| TRANSMITTER OPTIONS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Output signals required? |  |  |  |  |  | 4-20 mA Other |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Field bus options required? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| LCD back lighting required? |  |  |  |  |  | Yes No |  |  |  |  |  |  |  | (Mark Choice) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| High / Low alarms required? |  |  |  |  |  | Yes No |  |  |  |  |  |  |  | (Mark Choice) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| EMI Filtering Constant Voltage Transformer required? |  |  |  |  |  | Yes No |  |  |  |  |  |  |  | (Mark Choice) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Inter-connecting cable required? |  |  |  |  |  | Yes No |  |  |  |  |  |  |  | Metres |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| #### Application Data Sheet: Static (Bin) Weighing | ##### Page 2 of 2 |
| --- | --- |

| LOAD CELL OPTIONS |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Number of load cells preferred |  |  |  |  |  |  |  | (Specify) |  |  |  |
| Mounting hardware required? |  |  |  |  | Yes No |  |  |  |  |  |  |
| SPECIAL REQUIREMENTS |  |  |  |  |  |  |  |  |  |  |  |
| SKETCH OF VESSEL (Side View) |  |  |  |  |  |  |  |  |  |  |  |
| or alternatively attach a drawing (ACAD .dwg or .pdf format) of the vessel |  |  |  |  |  |  |  |  |  |  |  |
| CONFIRMATION OF TECHNICAL DETAILS AS SET OUT ABOVE |  |  |  |  |  |  |  |  |  |  |  |
| Print Name: |  |  |  |  |  |  | Designation: |  |  |  |  |
| Signature: |  |  |  |  |  |  | Date: |  |  |  |  |
| FOR OFFICE USE |  |  |  |  |  |  |  |  |  |  |  |
| Transmitter Model to be supplied: |  |  |  |  |  |  |  |  |  |  |  |
| Load cell model to be supplied: |  |  |  |  |  |  |  |  |  |  |  |
| Load cell capacity to be supplied: |  |  |  |  |  |  |  |  |  |  |  |
| Options to be supplied: |  |  |  |  |  |  |  |  |  |  |  |
| Additional requirements: |  |  |  |  |  |  |  |  |  |  |  |