APPLICATION DATA SHEET: EMB230 CONVEYOR SCALE WITH SINGLE ROLL FLAT IDLERS

Page 1 of 5

| Quote Reference: |  |  |  | Tag: |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Customer: |  |  |  | End-User: |  |  |  |  |  |  |  |
| Email: |  |  |  | Date: |  |  |  |  |  |  |  |
| In order to evaluate the application and to ensure that any scale subsequently purchased will be compatible with the conveyor frame (stringer), certain minimum data is required. Please enter the data required on the sketch and questionnaire below. (* indicates applicable to Electro Mechanical Belt Scale models only). A hand sketch of the conveyor side view with distances to;- tangent points, inclines, between idlers etc., should be drawn on the allocated space or preferably attach a drawing (ACAD .dwg or .pdf format) of the conveyor. |  |  |  |  |  |  |  |  |  |  |  |
| MEASURED DIMENSIONS |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | DIM |  | MEAS MEASURED DIM |  |  |  |
|  |  |  |  |  |  | A = |  |  |  | mm |  |
|  |  |  |  |  |  | B = |  |  |  | mm |  |
|  |  |  |  |  |  | C = |  |  |  | mm |  |
|  |  |  |  |  |  | E = |  |  |  | mm |  |
|  |  |  |  |  |  | F = |  |  |  | mm |  |
|  |  |  |  |  |  | G = |  |  |  | mm |  |
|  |  |  |  |  |  | H = |  |  |  | mm |  |
|  |  |  |  |  |  | I = |  |  |  | mm |  |
|  |  |  |  |  |  | J= |  |  |  | mm |  |
|  |  |  |  |  |  | K= |  |  |  | mm |  |
| OFF-SCALE FOOT BOLTING PITCH DETAILS (See Note 1 below): |  |  |  |  |  | L= |  |  |  | mm |  |
|  |  |  |  |  |  | M= |  |  |  | mm |  |
| Notes: - The idler foot bolting pitch sketch above is only to be completed when the idlers are not supplied by Process Automation. - The On-Scale idler foot bolting pitch interface to the PA scale is 250mm (Dim “K”). - Refer to QD-258 for 3 Roll Idlers & QD-252 for 5 Roll Idlers. |  |  |  |  |  |  |  |  |  |  |  |

| LOADING CONDITIONS |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Product conveyed |  |  |  |  |  |  |  |  |  |  |  |  |
| More than one different type of material conveyed? |  | Yes No |  | (Mark Choice) |  |  |  |  |  |  |  |  |
| Loading continuous? (*- see note below) |  | Yes No |  | (Mark Choice) |  |  |  |  |  |  |  |  |
| Loading uniform? (*- see note below) |  | Yes No |  | (Mark Choice) |  |  |  |  |  |  |  |  |
| * - If “no” to any of the two questions above, please specify maximum instantaneous belt loading (kg/m) |  |  |  |  |  |  |  |  |  |  |  |  |
| Severe vibration? |  | Yes No |  | (Mark Choice) |  |  |  |  |  |  |  |  |
|  | Maximum |  |  |  | Normal |  |  |  | Minimum |  |  |  |
| Calibration Capacity (t/h) |  |  |  |  |  |  |  |  |  |  |  |  |
| Belt Loading (kg/m) |  |  |  |  |  |  |  |  |  |  |  |  |
| Material bulk density (kg/m3) |  |  |  |  |  |  |  |  |  |  |  |  |
| Material surcharge angle (degrees) |  |  |  |  |  |  |  |  |  |  |  |  |
| Particle size (mm) |  |  |  |  |  |  |  |  |  |  |  |  |
| Moisture content (%) |  |  |  |  |  |  |  |  |  |  |  |  |
| Conveyor belt speed (metres/second) |  |  |  |  |  |  |  |  |  |  |  |  |
| #### Application Data Sheet: EMB230 Conveyor Scale with Single Roll Flat Idlers |  |  |  |  |  |  |  |  |  | ##### Page 2 of 5 |  |  |

| CONVEYOR CONDITIONS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Conveyor incline angle (degrees) at point of scale installation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Conveyor (normal) idler pitch (mm) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Scale idler pitch (mm) – (preferred: 1000mm) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Conveyor fed by |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Conveyor take-up type: * |  |  |  | Gravity Screw Hydraulic None |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| On which side of the conveyor is the walkway, when viewed in the direction of belt travel? |  |  |  | LHS RHS (Mark Choice) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Distance from centre of scale to tail pulley |  |  |  |  |  |  |  | m |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Distance from centre of scale to head pulley |  |  |  |  |  |  |  | m |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Distance from end of infeed skirt-boards to 1st weigh idler |  |  |  |  |  |  |  | m |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Expansion joints at installation point to be welded? |  |  | Yes No |  |  |  |  |  | (Mark Choice) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Is there a curve in the belt? |  |  | Yes No |  |  |  |  |  | (Mark Choice) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| (If yes, dimensioned/scaled drawing is mandatory) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Are there any trippers on the conveyor belt? |  |  | Yes No |  |  |  |  | (Mark Choice) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Are there multiple feed points? |  |  | Yes No |  |  |  |  | (Mark Choice) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Is it a reversible belt? |  |  | Yes No |  |  |  |  | (Mark Choice) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Is the scale exposed to wind? |  |  | Yes No |  |  |  |  | (Mark Choice) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| What is the belt thickness (or class & number of plies)? |  |  |  |  |  |  |  | mm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Is the belt steel cored? |  |  | Yes No |  |  |  |  | (Mark Choice) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Calibration Method: | Theoretical Test Weights* Belt Cut Bulk Material Test |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| In-accuracy allowable |  |  |  |  |  |  |  | % |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Power supply available |  | 220VAC 50/60Hz 110VAC 50/60Hz 24VDC |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | (Mark Choice) |  |  |
| Environmental temperature (°C) |  |  |  |  | (Maximum) |  |  |  |  |  |  | (Normal) |  |  |  |  |  |  |  |  | (Minimum) |  |
| Hazardous location at Enclosure / Transmitter? |  | Yes No |  |  |  |  |  |  |  |  |  |  |  |  |  | (Classification) |  |  |  |  |  |  |
| Hazardous location at installation of Belt? |  | Yes No |  |  |  |  |  |  |  |  |  |  |  |  |  | (Classification) |  |  |  |  |  |  |
| UniproV Enclosure |  | Double Door Mild Steel (IP66) Double Door 316 Stainless Steel (IP66) Polycarbonate (IP66) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Is welding on stringers permissible for installation purposes? |  |  | Yes No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| GENERAL OPTIONS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Calibration test weight required?* |  |  | Yes No | (Mark Choice) |  |  |
| Manual test weight lifting system required?* |  |  | Yes No | (Mark Choice) |  |  |
| Automated test weight lifting system required?* |  |  | Yes No | (Mark Choice) |  |  |
| Certification “Legal for Trade” required?* |  | Consult Factory |  |  |  |  |
| Paint requirements? | PA Proprietary (Blue) Galvanized Other (as per attached) None |  |  |  |  |  |
| Stainless Steel Option | Stainless Steel Grade 304 316 |  |  |  |  |  |
| Constant voltage transformer required? |  |  | Yes No | (Mark Choice) |  |  |

| APPLICABLE ONLY WITH SCALE UPGRADE |  |  |  |
| --- | --- | --- | --- |
| G-Dimension of torque transmitter: |  | mm |  |
| Existing Scale Mounting Centres: |  | mm |  |
| Previous SO Number: |  |  |  |
| Scale duty version: Standard Duty (50mm) | Yes No |  | (Mark Choice) |
| Scale duty version: Heavy Duty (76mm) | Yes No |  | (Mark Choice) |

| SPECIAL REQUIREMENTS |  |  |
| --- | --- | --- |
| #### Application Data Sheet: EMB230 Conveyor Scale with Single Roll Flat Idlers |  | ##### Page 3 of 5 |

SKETCH OF CONVEYOR (Side View)

or alternatively attach a drawing (ACAD .dwg or .pdf format) of the conveyor (Paying specific attention to indicate the position of the curves with respect to the proposed installation position.) Kindly note that this information is critical to the correct placement of the scale in the conveyor and any omissions could affect the scale performance

| #### Application Data Sheet: EMB230 Conveyor Scale with Single Roll Flat Idlers | ##### Page 4 of 5 |
| --- | --- |

| UNIPRO V: INPUT AND OUTPUT REQUIREMENTS |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| STANDARD I/O |  |  |  |  |  |  |  |
| Type | Typical Variable |  |  |  |  |  |  |
| Analogue Output | Rate |  |  |  |  |  |  |
| Digital Output 1 | Totaliser pulses |  |  |  |  |  |  |
| Digital Output 2 | Allocatable |  |  |  |  |  |  |
| Digital Input | Allocatable |  |  |  |  |  |  |
| ADDITIONAL (OPTIONAL) EXPANSION I/O (TICK A MAXIMUM OF FOUR) |  |  |  |  |  |  |  |
| GENERAL |  | Type | YES |  |  | NO |  |
| Totaliser pulses |  | Digital Output |  |  |  |  |  |
| System healthy |  | Digital Output |  |  |  |  |  |
| SIGNALS |  |  |  |  |  |  |  |
| Rate |  | Analogue Output |  |  |  |  |  |
| Speed |  | Analogue Output |  |  |  |  |  |
| Load |  | Analogue Output |  |  |  |  |  |
| ALARMS |  |  |  |  |  |  |  |
| General (active when any assigned alarm is active) |  | Digital Output |  |  |  |  |  |
| Speed high |  | Digital Output |  |  |  |  |  |
| Speed low |  | Digital Output |  |  |  |  |  |
| Speed general (high or low) |  | Digital Output |  |  |  |  |  |
| Load high |  | Digital Output |  |  |  |  |  |
| Load low |  | Digital Output |  |  |  |  |  |
| Load general (high or low) |  | Digital Output |  |  |  |  |  |
| Rate high |  | Digital Output |  |  |  |  |  |
| Rate low |  | Digital Output |  |  |  |  |  |
| Rate general (high or low) |  | Digital Output |  |  |  |  |  |
| AUTOMATED TEST WEIGHT |  |  |  |  |  |  |  |
| Activate |  | Digital Output |  |  |  |  |  |
| Position Feedback 1 |  | Digital Input |  |  |  |  |  |
| Position Feedback 2 |  | Digital Input |  |  |  |  |  |
| RATE PID CONTROLLER |  |  |  |  |  |  |  |
| Deviation low |  | Digital Output |  |  |  |  |  |
| Deviation high |  | Digital Output |  |  |  |  |  |
| Deviation general (high or low) |  | Digital Output |  |  |  |  |  |
| Control Output |  | Analogue Output |  |  |  |  |  |
| Setpoint Input |  | Analogue Input |  |  |  |  |  |
| Run Feedback |  | Digital Input |  |  |  |  |  |
| SECOND PID CONTROLLER |  |  |  |  |  |  |  |
| Deviation low |  | Digital Output |  |  |  |  |  |
| Deviation high |  | Digital Output |  |  |  |  |  |
| Deviation general (high or low) |  | Digital Output |  |  |  |  |  |
| Control Output |  | Analogue Output |  |  |  |  |  |
| Setpoint Input |  | Analogue Input |  |  |  |  |  |
| PV Input |  | Analogue Input |  |  |  |  |  |
| Run Feedback |  | Digital Input |  |  |  |  |  |
| AUXILIARY I/O |  |  |  |  |  |  |  |
| Digital Output |  | Quantity: (Maximum 4) |  |  |  |  |  |
| Digital Input |  | Quantity: (Maximum 4) |  |  |  |  |  |
| Analogue Output |  | Quantity: (Maximum 2) |  |  |  |  |  |
| Analogue Input |  | Quantity: (Maximum 2) |  |  |  |  |  |

| #### Application Data Sheet: EMB230 Conveyor Scale with Single Roll Flat Idlers | ##### Page 5 of 5 |
| --- | --- |

INPUTS AND OUTPUTS - NOTES

Digital Outputs are available with an electromechanical relay or a solid state relay. The electromechanical relay has change over contacts rated at 24 VDC, 0.5 Amp. The solid state relay has normally open contacts rated at 24 VDC/VAC, 80mA. The solid state relay is typically used for high pulse rate applications (Maximum pulse rate 1000 pulses per second with typically 50% pulse distortion).

Digital Inputs are optically isolated & require 10-40 VDC, 10mA.

Analogue Outputs are optically isolated and capable of driving a 0/4-20 mA into 1kΩ maximum (cable resistance and load).

Analogue Inputs are optically isolated (4-20 mA or 0-10 VDC jumper selectable).

| SERIAL COMMUNICATIONS (Select one only) |  |  |
| --- | --- | --- |
| PROFINET-IO | Yes No |  |
| Profibus DP | Yes No |  |
| Profibus PA | Yes No |  |
| EtherNetIP | Yes No |  |
| ControlNet | Yes No |  |
| DeviceNet | Yes No |  |
| Modbus TCP/IP (Ethernet) | Yes No |  |
| Modbus | Yes No |  |

| CONFIRMATION OF TECHNICAL DETAILS AS SET OUT ABOVE (requirement of ISO 9000/9001) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Print Name: |  |  | Designation: |  |  |
| Signature: |  |  | Date: |  |  |

| FOR OFFICE USE |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Scale model purchased |  |  |  |  |  |  |  |  |
| Weigh duty idlers purchased:* |  |  |  | Yes No |  |  | Qty |  |
| Dimension "G" selected:* |  |  |  |  |  |  | mm |  |
| Load cell capacity selected:* |  |  |  |  |  |  | kg |  |
| Scale idler pitch selected:* |  |  |  |  |  |  | mm |  |
| Additional requirements: |  |  |  |  |  |  |  |  |

| FOR OFFICE USE ONLY (SALES AND PROJECTS) |  |  |
| --- | --- | --- |
| Initial ADS amended by Sales or Client |  | Yes No |
| IF YES | Description of Changes |  |
|  | Revision | Rev1 Rev2 Rev3 Rev4 Rev1 Rev5 |